# SECTION 05 31 00 Steel Decking

- GENERAL

      - RELATED DOCUMENTS

        - Drawings and general provisions of the Contract, including General Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section Includes:

          - Roof deck.

          - Composite floor deck.

        - Related Sections:

          - Division 03 Section “Cast-in-Place Concrete” for concrete fill.

          - Division 05 Section “Structural Steel Framing” for shop and field-welded shear connectors.

          - Division 05 Section “Metal Fabrications’ for framing deck openings with miscellaneous steel shapes.

      - REFERENCE STANDARDS

        - The latest published edition of a reference shall be applicable to this Project unless identified by a specific edition date.

        - Reference amendments adopted prior to the effective date of this Contract shall be applicable to this Project.

        - Materials, installation and workmanship shall comply with the applicable requirements and standards addressed within the following references:

          - American Iron and Steel Institute (AISI), "Specification for the Design of Cold Formed Steel Structural Members."

          - American Welding Society (AWS), D1.3 "Structural Welding Code   Sheet Steel."

          - Steel Deck Institute (SDI), "Design Manual for Composite Decks, Form Decks and Roof Decks."

      - QUALITY ASSURANCE

        - Qualification of Field Welding:  Use qualified welding processes and welding operators in accordance with "Welder Qualification" procedures of AWS.

          - Welded decking in place is subject to inspection and testing. Owner will bear expense of removing and replacing portions of decking for testing purposes if welds are found to be satisfactory.  Remove work found to be defective and replace with new acceptable work.

        - Underwriters' Label:  Provide metal floor deck units listed in Underwriters' Laboratories "Fire Resistance Directory", with each deck unit bearing the UL label and marking for specific system detailed.

          - Provide cellular floor deck units listed in UL "Electrical Construction Materials Directory" with each cellular metal floor deck unit bearing UL labels and marking.  Provide units that will permit use of standard header ducts and outlets for electrical distribution systems.

        - FM Listing:  Provide steel roof deck units that have been evaluated by Factory Mutual System and are listed in "Factory Mutual Approval Guide" for "Class I" fire rated construction.

      - SUBMITTALS

        - Product Data:  For each type of deck, accessory, and product indicated.

          - Provide test data for mechanical fasteners used in lieu of welding for fastening deck to supporting structures.

        - Shop Drawings:

          - Showing layout and types of deck units, anchorage details, and conditions requiring closure strips, supplementary framing, sump pans, cant strips, cut openings, special jointing, and other accessories.

        - Welding certificates.

        - Product Certificates:  For each type of steel deck.

        - Product Test Reports:  For tests performed by a qualified testing agency, indicating that each of the following complies with requirements:

          - Power-actuated mechanical fasteners.

          - Acoustical roof deck.

        - Evaluation Reports:  For steel deck, from ICC-ES.

        - Field quality control reports.

      - DELIVERY, sTORAGE, AND hANDLING

        - Protect steel deck from corrosion, deformation, and other damage during delivery, storage, and handling.

        - Stack steel deck on platforms or pallets and slope to provide drainage.  Protect with a waterproof covering and ventilate to avoid condensation.

- PRODUCTS

      - GENERAL

        - Materials shall meet or exceed all applicable referenced standards, federal, state and local requirements, and conform to codes and ordinances of authorities having jurisdiction.

      - PERFORMANCE REQUIREMENTS

        - AISI Specifications: Comply with calculated structural characteristics of steel deck according to AISI's "North American Specification for the Design of Cold-Formed Steel Structural Members."

        - Fire-Resistance Ratings: Comply with ASTM E 119; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

          - Indicate design designations from UL's "Fire Resistance Directory" or from the listings of another qualified testing agency.

      - MANUFACTURERS

        - Subject to compliance with requirements, manufacturers offering products that may be incorporated in the work include:

          - ASC Pacific, Inc.

          - Canam Steel Corporation, Canam Group, Inc.

          - Cordek.

          - DACS, Inc.

          - Epic Metals Corp.

          - Marlyn Steel Products, Inc.

          - New Millennium Building Systems, LLC

          - Nucor Corp.; Vulcraft Division.

          - Roof Deck, Inc.

          - Valley Joist.

          - United Steel Deck, Inc.

          - Verco Manufacturing Co.

      - ROOF DECK

        - Steel Roof Deck:  Fabricate panels without top-flange stiffening groves conforming to SDI Publication No. 31" Specifications and Commentary for Steel Roof Deck" and the following:

        - Galvanized-Steel Sheet: ASTM A 653/A 653M, Structural Steel (SS), Grade 33 (230), ,G60 zinc coating.

        - Acoustical Steel Roof Deck:  Fabricate panels without top-flange stiffening grooves conforming to SDI Publication No. 31 "Specifications and Commentary for Steel Roof Deck" and the following:

          - Galvanized-Steel Sheet: ASTM A 653/A 653M, Structural Steel (SS), Grade 33 (230), ,G60 zinc coating.

          - Acoustical Perforations and Sound Insulation:  Deck panels with manufacturer's standard perforated vertical webs.

          - Acoustical Perforations and Sound Insulation:  Cellular deck panels with manufacturer's standard perforated flat-bottom plate welded to ribbed deck.

      - FLOOR DECK

        - Composite Steel Floor Deck:  Fabricate panels with integrally embossed or raised pattern ribs and interlocking side laps, conforming to SDI Publication No. 31 "Specifications and Commentary for Composite Steel Floor Deck," the minimum section properties indicated, and the following:

          - Galvanized-Steel Sheet: ASTM A 653/A 653M, Structural Steel (SS), Grade 33 (230), ,G60 zinc coating.

          - Galvanized and Shop-Primed Steel Sheet:  ASTM A 446, Grade A, G 60 (ASTM A 446M, Grade A, Z 180) zinc coated according to ASTM A 525 (ASTM A 525M); cleaned, pretreated, and primed with manufacturer's baked-on, lead- and chromate-free rust-inhibitive primer.

        - Cellular Metal Floor Deck for Electrical Distribution:

          - Fabricate steel sheet cellular floor deck panels composed of a ribbed top section welded to a lower flat-bottom sheet with interlocking side laps conforming to SDI Publication No. 28 "Specifications and Commentary for Cellular Metal Floor Deck with Electrical Distribution."

          - Fabricate deck to the minimum section properties, width of panel, number and area of cells per panel indicated, and the following:

            - Deck Type:  Composite

            - Deck Type:  Noncomposite

          - Shop punch holes of size and arrangement recommended by deck manufacturer, into each cell of the deck at preset inserts and harder duct locations.

          - Shop punch holes, of size and arrangement indicated, into each cell of the deck at preset inserts and header duct locations.

      - FORM DECK

        - Noncomposite Steel Form Deck:  Fabricate ribbed-steel sheet noncomposite form deck panels conforming to SDI Publication No. 28 "Specifications and Commentary for Noncomposite steel form Deck", the minimum section properties indicated, and the following:

          - Galvanized-Steel Sheet:  ASTM A 446, Grade E, G 60 (ASTM A 446M, Grade E, Z 180) zinc coated according to ASTM A 525 (ASTM A 525M)

          - Galvanized-Steel Sheet:  ASTM A 446, Grade E, G 90 (ASTM A 446M, Grade E, Z 275) zinc coated according to ASTM A 525 (ASTM A 525M)

        - Vented Noncomposite Steel Form Deck:  Fabricate ribbed- and vented-steel sheet noncomposite form deck panels conforming to SDI Publication No. 28 "Specifications and Commentary for Noncomposite Steel Form Deck," and the following:

          - Galvanized-Steel Sheet:  ASTM A 446, Grade E, G 60 (ASTM A446M, Grade E, Z 180) zinc coated according to ASTM A 525 (ASTM A 525M)

          - Galvanized-Steel Sheet:  ASTM A 446, Grade E, G 90 (ASTM A 446M, Grade E, Z 275) zinc coated according to ASTM A 525 (ASTM A 525M)

          - Vent Slot Area:  Manufacturer's standard vent slots providing 1.5 percent minimum open area.

      - ACCESSORIES

        - Provide accessory materials for steel deck that comply with requirements indicated and recommendations of the steel deck manufacturer.

        - Mechanical Fasteners:  Manufacturer's standard, corrosion-resistant, low-velocity, powder-actuated or pneumatically driven carbon steel fasteners; or self-drilling, self-threading screws.

        - Side Lap Fasteners:  Manufacturer's standard, corrosion-resistant, hexagonal washer head; self-drilling, carbon steel screws, No. 10 (4.8 mm) minimum diameter.

        - Rib Closure Strip:  Manufacturer's standard vulcanized, closed-cell, synthetic rubber.

        - Sound-Absorbing Insulation:  Manufacturer's standard premolded roll or strip glass fiber or mineral fiber.

        - Miscellaneous Roof Deck Accessories:  Steel sheet, 0.0359-inch- (0.91-mm) thick minimum ridge and valley plates, finish strips, and reinforcing channels, of same material as roof deck.

        - Pour Stops and Girder FillersSteel sheet, minimum yield strength of 33,000 psi (230 MPa), of same material and finish as deck, and of thickness and profile recommended by SDI Publication No. 30 for overhang and slab depth.

        - Column Closures, End Closures, Z-Closures, and Cover Plates:  Steel sheet, of same material and thickness as deck panels, unless otherwise indicated.

        - Hanger Tabs:  Manufacturer's standard piercing steel sheet hanger attachment devices for floor deck panels.

        - Weld Washers:  Manufacturer's standard uncoated-steel sheet weld washers, shaped to fit deck rib, 0.0598 inch (1.5 mm) thick with 3/8-inch (9.5-mm) minimum diameter prepunched hole.

        - Recessed Sump pans:  Manufacturer's standard size, single piece steel sheet 0.071-inch- (1.8mm-) thick minimum, of same material as deck panels, with 1-1/2-inch- (38-mm-) minimum deep level recessed pans and 3-inch- (76-mm-) wide flanges.  Cut holes for drains in the field.

        - Flat Receiver Pan:  Manufacturer's standard size, single-piece steel sheet, 0.071-inch- (1.8-mm-) thick minimum units, of same material as deck panels.  Cut holes for drains in the field.

        - Shear Connectors:  ASTM A 108, Grade 1010 through 1020 headed stud type, cold-finished carbon steel, AWS D1.1, Type b.

        - Steel Sheet Accessories:  ASTM A 446, G 60 (ASTM A 446M, Z 180) coating class, galvanized according to ASTM A 525 (ASTM A 525M).

        - Galvanizing Repair Paint:  SSPC-Paint 20 or DOD-P-21035, with dry film containing a minimum of 94 percent zinc dust by weight.

        - Preset Inserts:  Manufacturer's standard, UL-labeled single-piece preset inserts, fabricated from either still sheet galvanized according to ASTM A 525, G 60 (ASTM A 525M, Z 180) coating class, or zinc sheet, with removable covers.

- EXECUTION

      - EXAMINATION

        - Examine supporting frame and field conditions for compliance with requirements for installation tolerances and other conditions affecting performance.

      - INSTALLATION, GENERAL

        - Installation shall meet or exceed all applicable federal, state and local requirements, referenced standards and conform to codes and ordinances of authorities having jurisdiction.

        - Installation shall be in accordance with manufacturer’s published recommendations.

        - Install deck panels and accessories according to applicable specifications and commentary in SDI Publication No. 31, manufacturer’s written instructions, and requirements in this Section.

        - Place deck units on supporting steel framework and adjust to final position with ends accurately aligned and bearing on supporting members before being permanently fastened.  Do not stretch or contract side lap interlocks.

        - Align deck units for entire length of run of cells and with close alignment between cells at ends of abutting units.

        - Place deck units flat and square, secured to adjacent framing without warp or deflection.

        - Do not place deck units on concrete supporting structure until concrete has cured and is dry.

        - Coordinate and cooperate with structural steel erector in locating decking bundles to prevent overloading of structural members.

        - Do not use deck units for storage or working platforms until permanently secured.

      - ROOF DECK INSTALLATION

        - Fasten roof deck panels to steel supporting members by arc spot (puddle) welds of the surface diameter indicated or arc seam welds with an equal perimeter, but not less than 1-1/2 inches (38 mm) long, and as follows:

Retain one option in "Weld Diameter" Subparagraph below or revise to suit Project.

          - Weld Diameter: [5/8 inch (16 mm)] [3/4 inch (19 mm)], nominal.

Retain one option in "Weld Spacing" Subparagraph below. First option is based on SDI specifications for roof deck; second, on FMG Loss Prevention Data Sheet 1-29 recommendations for roof deck securement. Retain third if indicating requirements on Drawings. Revise if diaphragm requirements or FM Global approval requires closer weld spacings.

          - Weld Spacing: Weld edge and interior ribs of deck units with a minimum of two welds per deck unit at each support. Space welds [18 inches (457 mm) apart, maximum] [12 inches (305 mm) apart in the field of roof and 6 inches (150 mm) apart in roof corners and perimeter, based on roof-area definitions in FMG Loss Prevention Data Sheet 1-28] [as indicated].

          - Weld Washers:  Where deck thickness is less than 0.028 inches, install weld washers at each weld location.

        - Side Lap and Perimeter Edge Fastening:  Fasten side laps and perimeter edges of panels between supports, at intervals not exceeding 36 inches (910 mm), using one of the following methods:

          - Mechanically fasten with self-drilling No. 10 - (4.8-mm-) diameter or larger carbon steel screws.

          - Mechanically clinch or bottom punch

          - Fasten with 1-1/2-inch- (38-mm-) long minimum welds.

        - End Bearing:  Install deck ends over supporting framing with a minimum end bearing of 1-1/2 inches (38 mm), with end joints as follows:

Retain one of three options in "End Joints" Subparagraph below. SDI allows lapped or butted ends for roof deck. FM Global recommends that ends lap a minimum of 2 inches (51 mm).

          - End Joints: [Lapped 2 inches (51 mm) minimum] [Butted] [Lapped 2 inches (51 mm) minimum or butted at Contractor's option].

        - Roof Sump Pans and Sump Plates:  Install over openings provide in roof decking, and weld flanges to top of deck.  Space welds not more than 12 inches (305 mm) apart with at least one weld at each corner.

        - Miscellaneous Roof Deck Accessories:  Install ridge and valley plates, finish strips, cover plates, end closures, and reinforcing channels according to deck manufacturer's recommendations.  Weld to substrate to provide a complete deck installation.

        - Flexible Closure Strips:  Install flexible closure strips over partitions, walls, and where indicated.  Install with adhesive according to manufacturer's instructions to ensure complete closure.

        - Sound-Absorbing Insulation:  Install premolded, roll or strip sound-absorbing insulation according to deck manufacturer's instructions.

      - FLOOR DECK INSTALLATION

        - Fasten floor deck panels to steel supporting members by arc spot (puddle) welds of the surface diameter indicated and as follows:

Retain one option in "Weld Diameter" Subparagraph below or revise to suit Project.

          - Weld Diameter: [5/8 inch (16 mm)] [3/4 inch (19 mm)], nominal.

Retain one of two "Weld Spacing" subparagraphs below. First subparagraph is based on SDI specifications. Retain second subparagraph if indicating requirements on Drawings.

          - Weld Spacing:  Weld edge ribs of panels at each support.  Space additional welds an average of 12 inch (305 mm) apart, but not more than 18 inches (457 mm) apart.

          - Weld Spacing:  Space and locate welds as indicated.

          - Weld Washers:  Where deck thickness is less than 0.028 inches, install weld washers at each weld location.

        - Side Lap and Perimeter Edge Fastening:  Fasten side laps and perimeter edges of panels between supports or at intervals not exceeding 36 inches (910 mm), using one of the following methods:

Retain acceptable fastening method(s) from subparagraphs below. Welding may be mandatory for diaphragm deck. Revise fastening requirements as required.

          - Mechanically fasten with self-drilling No. 10- (4.8-mm-) diameter or large carbon steel screws.

          - Mechanically clinch or bottom punch

          - Fasten with 1-1/2-inch- (38-mm-) long minimum welds.

        - End Bearing:  Install deck ends over supporting framing with a minimum end bearing of 1-1/2 inches (38 mm), with end joints as follows:

Retain one of three options in "End Joints" Subparagraph below or indicate locations of each choice on Drawings. SDI requires butted end joints for composite floor deck and allows lapped or butted ends for noncomposite floor deck.

          - End Joints: [Lapped] [Butted] [Lapped or butted at Contractor's option].

        - Shear Connectors:  Weld shear connectors through deck to support framing according to AWS D1.1 and manufacturer's instructions.  Butt end joints of dec panels; do not overlap.

        - Pour Stops and Girder Fillers:  Weld steel sheet pour stops and girder fillers to supporting structure according to SDI recommendations, unless otherwise indicated.

        - Floor Deck Closures:  Weld steel column closures, cell closures, and Z-closures to deck according to SDI recommendations to provide tight-fitting closures at open ends of ribs and sides of decking.  Weld cover plates at changes in direction of floor deck panels, unless otherwise indicated.

        - Maintain smooth cellular raceway interiors free of welds or mechanical fasteners.

        - Install piercing hanger tabs not more than 14 inches (355 mm) apart in both directions, within 9 inches (228 mm) of wall at ends, and not more than 12 inches (305 mm) from walls at sides, unless otherwise indicated.

      - FIELD QUALITY CONTROL

        - Testing Agency:  A qualified independent testing agency employed and paid by Owner will perform field quality-control testing.

        - Field welds will be subject to inspection.

        - Shear connector welds will be inspected and tested according to the requirements of AWS D1.1 for stud welding and as follows:

          - Shear connector welds will be visually inspected.

          - Blend tests will be performed when visual inspection reveal either less than a continuous 360 degree flash or welding repairs to any shear connector.

          - Test will be conducted on additional shear connectors when weld fracture occurs on shear connectors already tested, according to the requirements of AWS D1.1.

        - Testing agency will report test results promptly and in writing to Contractor and Owner.

        - Remove and replace Work that does not comply with specified requirements.

        - Additional testing will be performed to determine compliance of corrected work with specified requirements.

      - REPAIRS AND PROTECTION

        - Galvanizing Repairs:  Prepare and repair damaged galvanized coatings on both surfaces with galvanized repair paint according to ASTM A 780 and the manufacturer's instructions.

        - Provide final protection and maintain conditions to ensure steel decking is without damage or deterioration at time of Substantial Completions.

END OF SECTION 05 31 00

FOR MDACC USE ONLY. DELETE THIS PAGE BEFORE ISSUING DOCUMENTS.

document revision history

| Issue | Date | Revision Description | Author |
| --- | --- | --- | --- |
|  | 20190301 | Original Issuance |  |
| Rev. 1 |  | . |  |
| Rev. 2 |  |  |  |
| Rev. 3 |  |  |  |
| Rev. 4 |  |  |  |
| Rev. 5 |  |  |  |