SECTION 05 53 00 METAL GRATINGS

- GENERAL

      - RELATED DOCUMENTS

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - This Section includes the following:

          - Metal bar gratings.

          - Metal frames and supports for gratings.

        - Related Sections include the following:

          - Division 05 Section "Structural Steel" for structural-steel framing system components.

          - Division 05 Section "Metal Pan Stairs" for steel-framed stairs with grating treads.

          - Division 05 Section "Steel Pipe and Tube Railings" for metal pipe and tube handrails and railings.

      - PERFORMANCE REQUIREMENTS

        - Structural Performance:  Provide gratings capable of withstanding the following structural loads without exceeding the allowable design working stress of the materials involved, including anchors and connections:

SUBPARAGRAPHS BELOW ARE EXAMPLES BASED ON 1996 BOCA CODE AND ASCE 7.  VERIFY LOADS WITH STRUCTURAL ENGINEER OF RECORD.

          - Walkways and Elevated Platforms Other Than Exits:  Capable of withstanding a uniform load of 60 lbf/sq. ft.(2.87 kN/sq. m).  Limit deflection to L/360 or 1/4 inch(6.4 mm), whichever is less.

      - SUBMITTALS

        - Product Data:  For the following:

          - Clips and anchorage devices for gratings.

        - Shop Drawings:  Show fabrication and installation details for gratings.  Include plans, elevations, sections, and details of connections.  Show anchorage and accessory items.  Provide templates for anchors and bolts specified for installation under other Sections.

          - For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

      - QUALITY ASSURANCE

        - Professional Engineer Qualifications:  A professional engineer who is legally qualified to practice in jurisdiction where Project is located and who is experienced in providing engineering services of the kind indicated.  Engineering services are defined as those performed for installations of gratings that are similar to those indicated for this Project in material, design, and extent.

        - Fabricator Qualifications:  A firm experienced in producing gratings similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

DELETE PARAGRAPH BELOW IF BAR GRATINGS ARE NOT USED.

        - Metal Bar Grating Standards:  Comply with applicable requirements of the following:

RETAIN SUBPARAGRAPH BELOW FOR GRATINGS WITH MAXIMUM BEARING BAR DEPTH OF 2-1/2 INCHES (64 MM) AND MAXIMUM THICKNESS OF 3/16 INCH (4.8 MM) FOR STEEL AND STAINLESS STEEL OR 1/4 INCH (6.4 MM) FOR ALUMINUM.

          - Non-Heavy-Duty Metal Bar Gratings:  Comply with NAAMM MBG 531, "Metal Bar Grating Manual for Steel, Stainless Steel, and Aluminum Gratings and Stair Treads."

        - Welding:  Qualify procedures and personnel according to the following:

          - AWS D1.1, "Structural Welding Code--Steel."

          - Certify that each welder has satisfactorily passed AWS qualification tests for welding processes involved and, if pertinent, has undergone recertification.

      - PROJECT CONDITIONS

        - Field Measurements:  Where gratings are indicated to fit to other construction, verify dimensions of other construction by field measurements before fabrication and indicate measurements on Shop Drawings.  Coordinate fabrication schedule with construction progress to avoid delaying the Work.

DELETE BELOW IF NOT ALLOWED.

          - Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating gratings without field measurements.  Coordinate construction to ensure that actual dimensions correspond to established dimensions.  Allow for trimming and fitting.

      - COORDINATION

        - Coordinate installation of anchorages for gratings, grating frames, and supports.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

- PRODUCTS

      - MANUFACTURERS

        - Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

SEE EDITING INSTRUCTION NO. 1 IN THE EVALUATIONS FOR CAUTIONS ABOUT NAMING PRODUCTS AND MANUFACTURERS.

          - Metal Bar Gratings:

            - Alabama Metal Industries Corp.

            - IKG Borden.

            - Ohio Gratings, Inc.

            - Seidelhuber Metal Products, Inc.

SEIDELHUBER METAL PRODUCTS - NOW PART OF BRODHEAD STEEL (IN 2008 PER 4SPEC-VT)

        - Substitutions:  Under provisions of Division 01 Section “Substitution Procedures.”

      - FERROUS METALS

        - Steel Plates, Shapes, and Bars:  ASTM A 36/A 36M.

        - Wire Rod for Grating Crossbars:  ASTM A 510(ASTM A 510M).

        - Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy to be welded.

      - PAINT

        - Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

      - FASTENERS

        - General:  Provide Type 304 or 316 stainless-steel fasteners for exterior use and zinc-plated fasteners with coating complying with ASTM B 633, Class Fe/Zn 5, where built into exterior walls.  Select fasteners for type, grade, and class required.

DELETE PARAGRAPHS BELOW IF NO DETAILED FASTENING REQUIREMENTS.  RETAIN FOR COMPLEX WORK.

        - Bolts and Nuts:  Regular hexagon-head bolts, ASTM A 307, Grade A(ASTM F 568M, Property Class 4.6); with hex nuts, ASTM A 563(ASTM A 563M); and, where indicated, flat washers.

        - Plain Washers:  Round, carbon steel, ASME B18.22.1(ASME B18.22M).

        - Lock Washers:  Helical, spring type, carbon steel, ASME B18.21.1(ASME B18.21.2M).

        - Expansion Anchors:  Anchor bolt and sleeve assembly of material indicated below with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and equal to four times the load imposed when installed in concrete, as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

          - Material:  Carbon-steel components zinc-plated to comply with ASTM B 633, Class Fe/Zn 5.

SUBPARAGRAPH ABOVE AND BELOW ARE EXAMPLES ONLY.  ABOVE PROTECTS AGAINST CORROSION FROM AN INDOOR ATMOSPHERE.  REVISE TO SUIT OTHER CONDITIONS AFTER VERIFYING AVAILABILITY OF THICKER COATINGS.

          - Material:  Alloy Group 1 or 2 stainless-steel bolts complying with ASTM F 593(ASTM F 738M) and nuts complying with ASTM F 594(ASTM F 836M).

      - FABRICATION

        - Shop Assembly:  Fabricate grating sections in shop to greatest extent possible to minimize field splicing and assembly.  Disassemble units only as necessary for shipping and handling limitations.  Use connections that maintain structural value of joined pieces.  Clearly mark units for reassembly and coordinated installation.

        - Form from materials of size, thickness, and shapes indicated, but not less than that needed to support indicated loads.

        - Shear and punch metals cleanly and accurately.  Remove burrs.

        - Ease exposed edges to a radius of approximately 1/32 inch(1 mm), unless otherwise indicated.

        - Fit exposed connections accurately together to form hairline joints.

        - Welding:  Comply with AWS recommendations and the following:

          - Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

          - Obtain fusion without undercut or overlap.

          - Remove welding flux immediately.

        - Provide for anchorage of type indicated; coordinate with supporting structure.  Fabricate and space anchoring devices to secure gratings, frames, and supports rigidly in place and to support indicated loads.

          - Fabricate toeplates to fit grating units and weld to units in shop, unless otherwise indicated.

          - Fabricate toeplates for attaching in the field.

          - Toeplate Height:  4 inches(100 mm), unless otherwise indicated.

EDIT FOLLOWING ARTICLE AS REQUIRED FOR PROJECT.  PLEASE FORWARD CUT SHEETS OR OTHER INFORMATION.TO AID IN EDITING.

      - METAL BAR GRATINGS

        - Fabricate welded steel gratings as follows:

          - Grating Mark W-15-4 (1 x 1/8) STEEL:  1-by-1/8-inch(25-by-3.2-mm) bearing bars at 15/16 inch(24 mm) o.c., and crossbars at 4 inches(102 mm) o.c.

        - Traffic Surface for Steel Bar Gratings:  As follows:

          - Plain.

        - Steel Finish:  As follows:

          - Hot-dip galvanized with a coating weight of not less than 1.8 oz./sq. ft.(550 g/sq. m) of coated surface.

DELETE PARAGRAPH AND SUBPARAGRAPHS BELOW IF NO GRATING SECTIONS ARE REMOVABLE.

        - Fabricate removable grating sections with banding bars attached by welding to entire perimeter of each section.  Include anchors and fasteners of type indicated or, if not indicated, as recommended by manufacturer for attaching to supports.

          - Provide not less than four saddle clips for each grating section composed of rectangular bearing bars 3/16 inch(4.8 mm) or less in thickness and spaced 15/16 inch(24 mm) or more o.c., with each clip designed and fabricated to fit over two bearing bars.

RETAIN SUBPARAGRAPH BELOW FOR NON-HEAVY-DUTY GRATINGS WITH RECTANGULAR CROSSBARS SPACED LESS THAN 15/16 INCH (24 MM) O.C.

          - Provide not less than four weld lugs for each grating section composed of rectangular bearing bars 3/16 inch(4.8 mm) or less in thickness and spaced less than 15/16 inch(24 mm) o.c., with each lug shop welded to three or more bearing bars.  Interrupt intermediate bearing bars as necessary for fasteners securing grating to supports.

RETAIN TYPE OF FASTENER SELECTED BELOW WITH ANY ANCHORING METHOD ABOVE.

          - Furnish threaded bolts with nuts and washers for securing grating to supports.

DELETE SUBPARAGRAPH ABOVE OR BELOW, OR DELETE BOTH AND SUBSTITUTE WELDED STUDS OR OTHER TYPE OF FASTENER TO SUIT PROJECT.

          - Furnish self-drilling fasteners with washers for securing grating to supports.

DELETE TWO SUBPARAGRAPHS ABOVE AND RETAIN SUBPARAGRAPH BELOW FOR REMOVABLE FASTENERS INSTALLED FROM ABOVE GRATING.

          - Furnish galvanized malleable-iron flange clamp with galvanized bolt for securing grating to supports.  Furnish as a system designed to be installed from above grating by one person.

EDIT FOLLOWING SUBPARAGRAPH AS REQUIRED FOR PROJECT.

            - Product:  Subject to compliance with requirements, provide "Grate-Fast" by Struct-Fast Inc.

        - Fabricate cutouts in grating sections for penetrations indicated.  Arrange cutouts to permit grating removal without disturbing items penetrating gratings.

          - Edge-band openings in grating that interrupt four or more bearing bars with bars of the same size and material as bearing bars.

        - Do not notch bearing bars at supports to maintain elevation.

      - GRATING FRAMES AND SUPPORTS

DELETE THIS ARTICLE IF GRATING IS SUPPORTED BY STRUCTURAL STEEL (SEE AISC DEFINITION) AND ADDITIONAL FRAMING IS NOT REQUIRED.

        - Steel Frames and Supports:  Fabricate from structural-steel shapes, plates, and bars of welded construction to sizes, shapes, and profiles indicated and as necessary to receive gratings.  Miter and weld connections for perimeter angle frames.  Cut, drill, and tap units to receive hardware and similar items.

        - Equip units with integrally welded anchors for casting into concrete or building into masonry.

          - Unless otherwise indicated, space anchors 24 inches(600 mm) o.c. and provide minimum anchor units in the form of steel straps 1-1/4 inches(32 mm) wide by 1/4 inch(6 mm) thick by 8 inches(200 mm) long.

        - Galvanize frames and supports in the following locations:

          - Exterior.

      - FINISHES

        - Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

        - Finish gratings, frames, and supports after assembly.

        - Galvanizing:  For those items indicated for galvanizing, apply zinc coating by the hot-dip process complying with ASTM A 123.

- EXECUTION

      - INSTALLATION, GENERAL

        - Fastening to In-Place Construction:  Provide anchorage devices and fasteners where necessary for securing gratings to in-place construction.  Include threaded fasteners for concrete and masonry inserts, through-bolts, lag bolts, and other connectors.

        - Cutting, Fitting, and Placement:  Perform cutting, drilling, and fitting required for installing gratings.  Set units accurately in location, alignment, and elevation; measured from established lines and levels and free from rack.

        - Provide temporary bracing or anchors in formwork for items that are to be built into concrete or masonry.

        - Fit exposed connections accurately together to form hairline joints.  Weld connections that are not to be left as exposed joints but cannot be shop welded because of shipping size limitations.  Do not weld, cut, or abrade the surfaces of exterior units that have been hot-dip galvanized after fabrication and are for bolted or screwed field connections.

DELETE PARAGRAPH BELOW IF NO TOEPLATES OR IF THEY ARE ATTACHED IN SHOP.

        - Attach toeplates to gratings by welding at locations indicated.

        - Field Welding:  Comply with the following requirements:

          - Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

          - Obtain fusion without undercut or overlap.

          - Remove welding flux immediately.

      - INSTALLING METAL BAR GRATINGS

        - General:  Install gratings to comply with recommendations of referenced metal bar grating standards that apply to grating types and bar sizes indicated, including installation clearances and standard anchoring details.

        - Attach removable units to supporting members with type and size of clips and fasteners indicated or, if not indicated, as recommended by grating manufacturer for type of installation conditions shown.

        - Attach nonremovable units to supporting members by welding where both materials are the same; otherwise, fasten by bolting as indicated above.

      - ADJUSTING AND CLEANING

        - Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop painting to comply with SSPC-PA 1 requirements for touching up shop-painted surfaces.

          - Apply by brush or spray to provide a minimum 2.0-mil(0.05-mm) dry film thickness.

RETAIN PARAGRAPH AND SUBPARAGRAPH ABOVE IF TOUCHUP PAINTING IS IN THIS SECTION.  RETAIN PARAGRAPH BELOW IF IT IS IN DIVISION 09 SECTION "PAINTING."  REVISE REFERENCE IF ANOTHER DIVISION 09 SECTION, SUCH AS "SPECIAL COATINGS," IS USED.

        - Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in Division 09 Section "Painting."

        - Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

END OF SECTION 05 53 00

FOR MDACC USE ONLY. DELETE THIS PAGE BEFORE ISSUING DOCUMENTS.

document revision history

| Issue | Date | Revision Description | Author |
| --- | --- | --- | --- |
|  | 20190301 | Original Issuance |  |
| Rev. 1 |  | . |  |
| Rev. 2 |  |  |  |
| Rev. 3 |  |  |  |
| Rev. 4 |  |  |  |
| Rev. 5 |  |  |  |