# OVERALL STAFF TRAINING AND ORIENTATION PLAN

Date: _____________	Prepared by:________________

(To be filled out by the Commissioning authority in consultation with the Owner)

| Equipment / System | Spec Section | Total Hours (if spec’d) | Scope Code | Trainee Type1 (list no. of ea.) | Primary Responsible Contractor | Trainers’ Company | Agenda Rec’d? | Planned Training Date(s) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cut Stone | 04 43 30 | 1 Hr during const. |  |  |  |  | Yes |  |
| Composite Metal Building Panels | 07 42 43 | 1 Hr during const. |  |  |  |  | Yes |  |
| Metal-Framed Curtain Wall | 08 44 13 | 1 Hr during const. |  |  |  |  | Yes |  |
| Vertically Folding Operable Partitions | 10 22 26.13 | 1 Hr |  |  |  |  | Yes |  |
| Window Washing System | 11 24 23 | 1Hr |  |  |  |  | Yes |  |
| Laboratory Equipment | 11 53 00 | 1 day |  |  |  |  | Yes |  |
| Fume Hoods & Exhaust Devices | 11 53 13 | 2 Hrs |  |  |  |  | Yes |  |
| Shades | 12 24 00 | 1 Hr |  |  |  |  | Yes |  |
| Controlled Environmental Rooms | 13 21 00 | 4 Hrs |  |  |  |  | Yes |  |
| Chillers and System | 20 08 00 | 4 Hrs |  |  |  |  | Yes |  |
| Boilers and Heating System and PRV Station | 20 08 00 | 4 Hrs |  |  |  |  | Yes |  |
| HVAC Piping Systems | 20 08 00 | 4 Hrs |  |  |  |  | Yes |  |
| Air Compressors and Dryers | 20 08 00 | 4 Hrs |  |  |  |  | Yes |  |
| Air Handler Units | 20 08 00 | 4 Hrs |  |  |  |  | Yes |  |
| Supplementary Supply Fans | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Return Fan/Relief Fan | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Air Terminal Units | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Computer Room AC Units | 20 08 00 | 8 Hrs |  |  |  |  | Yes |  |
| Stairwell Fans | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Specialty Exhaust Fans | 20 08 00 | 4 Hrs |  |  |  |  | Yes |  |
| Restroom Central Exhaust Fans | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Domestic Hot Water Circulating System | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Domestic Water Booster Pumps | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Domestic Water Storage/Break Tank | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Water Softeners | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Pure Water Production Equipment | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Medical Compressed Gas Cylinder Manifolds | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Laboratory Compressed Gas Manifolds | 20 08 00 | 4 Hrs |  |  |  |  | Yes |  |
| Medical Gas and Vacuum System Alarms | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Laboratory Gas and Vacuum System Alarms | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Sump Pumps | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Sewage Ejector | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Fire Pump System | 20 08 00 | 2 Hrs |  |  |  |  | Yes |  |
| Dry Pipe Fire Sprinkler Systems | 21 13 17 | 2 Hrs |  |  |  |  | Yes |  |
| Fire Protection Water Tank | 21 41 24 | 8 Hrs |  |  |  |  | Yes |  |
| Domestic Water Heaters (Natural Gas Fired) | 22 34 36 | 2 Hrs |  |  |  |  | Yes |  |
| Laboratory Vacuum & Gas Piping | 22 60 53 | 4 Hrs |  |  |  |  | Yes |  |
| Laboratory Vacuum Pump Systems (Rotary Claw) | 22 62 21 | 4 Hrs |  |  |  |  | Yes |  |
| High Purity Water System | 22 67 13 | 8 Hrs |  |  |  |  | Yes |  |
| Variable Frequency Drives | 23 05 13 | 8 Hrs |  |  |  |  | Yes |  |
| Heat Recovery Chiller | 23 64 20 | 8 Hrs |  |  |  |  | Yes |  |
| Fuel Oil Piping Systems | 23 11 13 | 16 Hrs |  |  |  |  | Yes |  |
| BAS Commissioning | 25 08 00 | 8 Hrs |  |  |  |  | Yes |  |
| Lighting Controls | 26 08 00 | 8 Hrs |  |  |  |  | Yes |  |
| Emergency Power System | 26 08 00 | 16 Hrs |  |  |  |  | Yes |  |
| Uninterruptible Power Supply | 26 08 00 | 8 Hrs |  |  |  |  | Yes |  |
| 4160 Volt Switchgear | 26 08 00 | 8 Hrs |  |  |  |  | Yes |  |
| Generator Paralleling Gear | 26 08 00 | 16 Hrs |  |  |  |  | Yes |  |
| Power Status and Monitoring System (PSMS) | 26 08 00 | 2 Certs 8 Hrs |  |  |  |  | Yes |  |
| 600 VOLT GENERATOR PARALLELING SWITCHGEAR | 26 32 15 | 16 Hrs |  |  |  |  | Yes |  |
| AUTOMATIC TRANSFER SWITCHES | 26 36 23 | 8 Hrs |  |  |  |  | Yes |  |
| Lightning Protection | 26 41 00 | 1 Hr during const. |  |  |  |  | Yes |  |
| Electronic Security - Systems Startup | 28 00 00 | 16 Hrs |  |  |  |  | Yes |  |
| ELECTRONIC SECURITY | 28 00 00 | 16 Hrs/ 5 Days |  |  |  |  | Yes |  |
| Fire Alarm & Smoke Detector Systems - Training | 28 30 00 | 20 Hrs / 3-4 Hrs w/ 8Hrs follow up |  |  |  |  | Yes |  |
| Gate Operators | 32 31 20 | 1 Hr |  |  |  |  | Yes |  |
| Irrigation Systems | 32 80 00 | 1 Hr |  |  |  |  | Yes |  |
| Aircuity | 23 09 10 | 8Hrs |  |  |  |  | Yes |  |

1Trainee Types

FM = facility manager, FE = facility engineer and assistants, FT = facility technician / maintenance, 
PM = project manager, T = tenants, O = other

*OSCI = Owner supplied, contractor installed