TRAINING AND ORIENTATION AGENDA

Project: XXXXXX ________________________________			Date: _______________

Equipment / System:					                	Spec Section: _____________

## Section 1.  Audience and General Scope  [Owner and Commissioning Manager fill out this section and transmit entire form to responsible contractors.  Attach training specification section.]

Intended audience type (enter number of staff):  ___facility manager,   ___facility engineer,   ___facility technician,  ___project manager,  ___tenant,  ___other: __________________________________________

General objectives and scope of training:  (check all that apply)

___ A.	Provide an overview of the purpose and operation of this equipment, including required interactions of trainees with the equipment.

___ B.	Provide technical information regarding the purpose, operation and maintenance of this equipment at an intermediate level, expecting that factory reps will address serious malfunctions.

___ C.	Provide technical information regarding the purpose, operation, troubleshooting and maintenance of this equipment at a very detailed level, expecting that the trainees will provide almost all operation, service and repair.

## Section 2.  Instructors  [Commissioning Manager/Agent fills in Company.  Trainer fills out the balance, prior to training.]

ID	Trainer			   Company			Position/Qualifications

1)  ________________________      __________________    ______________________________________

2)  ________________________      __________________    ______________________________________

3)  ________________________      __________________    ______________________________________

## Section 3. Agenda [The responsible contractors have their trainers fill out this section and submit to Owner and Commissioning Manager for review and approval prior to conducting training.]

Location:	___site _____________________________________ Date __________________
	___classroom (location)_____________________________________, Date___________________

Agenda of general subjects covered	 Duration  Instructor	 Completed
( all that will be covered)                                                             ( when completed)	      (min.)	      (ID)	          ()

___General purpose of this system or equipment (design intent)	________	________	______

___Review of control drawings and schematics (have copies for attendees)	________	________	______

___Startup, loading, normal operation, unloading, shutdown, unoccupied
        operation, seasonal changeover, etc., as applicable	________	________	______

___Integral controls (packaged):  programming, troubleshooting, alarms,
       manual operation	________	________	______

___Building automation controls (BAS): programming, troubleshooting, 
      alarms, manual operation, interface with integral controls	________	________	______

___Interactions with other systems, operation during power outage and fire	________	________	______

___Relevant health, safety issues and concerns and special safety features	________	________	______

___Energy conserving operation and strategies	________	________	______

___Any special issues to maintain warranty	________	________	______

___Common troubleshooting issues and methods, control system warnings 
        and error messages, including using the control system for diagnostics	________	________	______

___Special requirements of tenants for this equipment’s function	________	________	______

___Service, maintenance, and preventative maintenance (sources,
       spare parts inventory, special tools, etc.)	________	________	______

___Question and answer period	________	________	______

Other subjects covered, specific to the equipment: 	Duration   Instructor  Completed

_____________________________________________________________	________	________	______

_____________________________________________________________	________	________	______

_____________________________________________________________	________	________	______

_____________________________________________________________	________	________	______

_____________________________________________________________	________	________	______

_____________________________________________________________	________	________	______

_____________________________________________________________	________	________	______

Total duration of training  (hrs) --------------------------------------------------->			______

Training methods that will be included (clarify as needed):      (Trainer checks all that apply)

  use of the O&M manuals, illustrating where the verbal training information is found in writing

  each attendee will be provided: 1) the control drawing schematic and sequence of operations; 
                                                        2) a copy of this agenda.

  discussion/lecture at site______________________________________________________________

  site demonstration of equipment operation________________________________________________

___written handouts____________________________________________________________________

___manufacturer training manuals_________________________________________________________

___classroom lecture____________________________________________________________________

___classroom hands-on equipment_________________________________________________________

___video presentation___________________________________________________________________

  question and answer period____________________________________________________________

## Section 4.  Approvals and Use [Once the Agenda has been filled out by the Trainer, the Owner and Commissioning Manager/Agent review, make edits, sign and return to Contractor who provides to the Trainer for use during training.  Copies of Agenda shall be provided to trainees.]

This plan has been approved by the following individuals, subject to the additions and clarifications noted in the left columns marked “add.”   (This is not an approval of training completion.)

_______________________________________		_________________________

Owner’s Representative					Date

_______________________________________		_________________________

Commissioning Authority                 				Date